## Slide 1: Ba Tagging from gXe
Group Meeting
June 5, 2015

## Slide 2: Double Beta Decay
0νββ peak
(normalized to 10-6)
0νββ peak
(normalized to 10-2)
[arXiv:hep-ph/0611243]
2νββ spectrum
Natural radiation decay rates
a banana ~10 decays/s
a bicycle tire ~0.3 decays/s
1 l outdoor air ~1 decay/min
100 kg of 136Xe (2ν) ~1 decay/10 min
Ba
Time Scales
age of universe 1.4 x 1010 years
2vBB decay of 136Xe 2 x 1021 years
0vBB decay of 136Xe >1025 years

## Slide 3: Barium Tagging
Stanford’s prototype
Goal: 10-6 mbar
Idea: background free measurement to increase sensitivity to slower decay rates
  measure decay event positions and energies
  recover the barium ion
  tag event-recovery coincidences as ββ decay
  reject non-tagged events
How can one isolate a single barium ion from a sea of 1028 xenon atoms?
Ba

## Slide 4: Extraction from high pressure gas xenon
Int. J. Mass. Spectrom. (2015) doi:10.1016/j.ijms.2015.01.003
Ba
Notes: 178.5 m^3

## Slide 5: Cross Section with Subsystems
Xe high pressure
chamber
supersonic nozzle
RF-funnel
sextupole ion guide
Ba source
10 bar
~1 mbar
1.2E-3 mbar
cryo pump
TMP
800 l/s
Xe gas
TMP
80 l/s
2.4E-6 mbar
aperture
ion detector
Xe gas
8E-3 mbar
Chamber A | Funnel Interior | Chamber B | Chamber C | Chamber D
High pressure Xe gas | Funnel | Cryopump chamber | SPIG chamber | Detection chamber
10 bar | ~1 mbar | 8E-3 mbar | 1E-3 mbar | 2E-6 mbar
Differential Pumping Stages
See Winter 2013 EXO week talk for subsystem descriptions
Chamber B
Chamber C
Chamber D
Chamber A
Or Ar gas

## Slide 6: Thermo Finnigan LTQ
LTQ with octupole guide on loan from TRIUMF
couple to system for m/q identification
cleaned roughing vacuum sections
split system apart to test components and get everything working again
LTQ
Octupole
Fourier transform ion cyclotron resonance

## Slide 7: LTQ split for testing
LTQ
CEM
3 Octupoles
Ion Source
Filament
Sliding rails
Apertures

## Slide 8: Recombined
after checking octupole transmission with CEM
reattached to LTQ
for tests with reversed injection use a blocked capillary to decrease gas load
successful tests of reversed system operation using cesium source at end of octupole

## Slide 9: Connection of LTQ to system
need to close off LTQ from system for xenon recovery: use manual gate valve with bellows & on tracks
new aperture aligns octupole
minimize insertion distance of octupole with longer SPIG

## Slide 10: A Gate to another multipole

## Slide 11: Installed in system
aligned
tested clearances
pumped everything down

## Slide 12: A Curve
Don’t Rush

## Slide 13: A Trip to Applied Fusion
1 new replacement octupole
fix 1 loose rod on back octupole
reinstalled

## Slide 14: Improvements
winch
frame connection
laminated procedure
LN2 trap on He line
LTQ top

## Slide 15: Caffeine & Isopropanol
using syringe pump to feed electro-spray ionizer
operating in LTQ normal mode: reverse from funnel mode
caffeine is lowest mass component of standard calibration mix
Caffeine-H+
IPA-H+

## Slide 16: LTQ voltages for injecting from funnel
SPIG
AP
Octupole
OAP2
OAP1
BL
Funnel
TF
TC
TB
FL
G
SPIG
Octupole
AP
OAP2
OAP1
BL
FL
G
Gate Lens
TF
TC
TB
Inject constantly into the trap (TB,TC,TF) from the back
scans are at a rate of scan time + injection time
injection time controls G

## Slide 17: Cesium Injection
fit the spectrum seen with Cesium
only stable mass 133u
0.25 u resolution in mass range of interest
injects from same side as funnel
no mass shift in reverse operations
floated source to simulate lower energy ions from SPIG and observed ions

## Slide 18: On Injection Time
20150403 Argon
~the time that the ions collide in trap before being measured
measurement time
~60 ms

## Slide 19: 3 bar argon with purifier
50 ms
100 ms
500 ms
1000 ms
2000 ms
8000 ms
105u
127u
m/z
looking at the mass peaks that make up these scans

## Slide 20: 3 bar argon with purifier
comparing the two main peaks

## Slide 21: 3 bar argon without purifier
200
long injection times (top): picket fence of peaks
14 amu spacing = CH2 ? sign of hydrocarbons
1000 ms
100 ms
10 ms
m/z
115u
20

## Slide 22: N2 with purifier
peaks differ from argon with purifier
still 14 amu spaced peaks at longer injection times
500 ms
50 ms
m/z
no data below 50 on this scan
10 ms

## Slide 23: A New Source
no Ba/BaF/BaF2 was observed with the old source
rotational symmetry
adjustable distance to nozzle
266Bq
(48 ul Gd)
15 nm BaF2
(3.9 ug @ sensor)

## Slide 24: Pre and Post Spectrum
SRIM energy loss: 25.8eV/Angstrom of BaF2
alpha peak energy shift roughly consistent
fits estimate 50 - 120 nm BaF2 layer
electronics drift not compensated

## Slide 25: Source Holder Comparison
Xe gas
Gas
Gas
Source deposited on this face
Spacer to determine length
4.7mm

## Slide 26: Xenon Runs
no counts observed at 10 bar
at lower pressures in chamber A : counts observed
reduced xenon pressure to 2 & 4 bar
gas open
gas closed
AXES LABELS

## Slide 27: Recall CEM measurements
count dependence on pressure

## Slide 28: Xe scans: 4 bar at 122-159u
composition of peaks changes with injection time at times of over a second: many more peaks
20 ms
50 ms
100 ms
200 ms
600 ms
1000 ms
3000 ms
8000 ms
m/z
132u

## Slide 29: Comparing to 132u
all peaks observed shown

## Slide 30: RGA Xenon & Comparison
pre run puffed xenon in, while cryopumping
blue : each m/q fit to A exp(-B t ) + C at t=0
peaks centered -0.4 amu below integers
[amu]
136
134
132
131
129
127
127 is not a Xe isotope

## Slide 31: Comparing to 132u
only looking at xenon isotope masses

## Slide 32: Xenon injection at 4 bar
at long times pick something up at ~32 amu
methanol CH3OH ? charge exchange?
20 ms
60 ms
500 ms
m/z
?

## Slide 33: Ar, N2, Xe at 500 ms
3 bar Ar
3 bar N2
4 bar Xe
m/z

## Slide 34
Zoomed
Ar
N2
Xe
Ar
N2
Xe

## Slide 35: Ar, N2, Xe at 200 ms
Suspect Ar run need to check if all 5.4 bar that way.
Ar
N2
Xe
m/z

## Slide 36
Zoomed
Ar
N2
Xe
Ar
N2
Xe

## Slide 37: Next Steps
release the data from being tied to the ThermoFinnagin format to get timing information so that can scan against other voltages
separate LTQ from octupole, connect CEM to octupole, measure transmission curves
  reproduce old curves with new source
potentially polonium source for higher intensity
learn chemistry to guess peaks
investigate effectiveness of cold trap for helium line
ν

## Slide 38
Backup slides

## Slide 39: Initial Running
Observed Ion counts from source
Qualitative agreement with simulations
Creation of ion species other than Ba+(+)
See Winter 2013 EXO week talk for more on initial run

## Slide 40: Increasing Stability
Covered ceramics more aggressively
Installed additional set of baffles inside to reduce temperature change of the funnel
Took short runs at identical conditions between longer runs for argon
New Baffles
Cryopump 1st Stage

## Slide 41: Qualitative agreement of gas flow
in xenon (left)
  462 l/s pumping speed
  scan of PA
and argon (bottom)
  534 l/s pumping speed
  below 1.5 mbar
  scan of PB

## Slide 42: Qualitative agreement in count rate
Calculation
Measurement
for selected xenon pressures in chamber A
there is pressure dependence of the source production rate

## Slide 43: Qualitative agreement in count rate
Calculation
Measurement
5.4 bar argon pressure in chamber A shown
scanning properties at higher pressure in B

## Slide 44: Calculated

## Slide 45: Measured

## Slide 46: System Stuff
Xe high pressure
chamber
supersonic nozzle
RF-funnel
sextupole ion guide
Ba source
10 bar
~1 mbar
1.2E-3 mbar
cryo pump
TMP
800 l/s
Xe gas
TMP
80 l/s
2.4E-6 mbar
aperture
ion detector
Xe gas
8E-3 mbar

## Slide 47: Diagram Main

## Slide 48: LTQ Diagram

## Slide 49: Ba-ion source
148Gd driven Ba+ source (Rev. Sci. Inst. 81 113301 (2010))
148Gd activity before BaF coating ~144 Bq
Calculated Ba+ rate of ~59Hz
Simulation of α energy loss in xenon and argon through ionization
Mean energy for electron-ion pair production W=21.7eV (xenon) and W=25.8eV (argon) used to estimate ion production
Xe gas

## Slide 50
RF-funnel Assembly
336 (301 + spares) photo-etched electrodes by Newcut
6x7 electrodes/sheet @ 8 sheets
Metal sheet: 0.1016 mm (±0.00254 mm)
28 mm

## Slide 51: The SPIG
26

## Slide 52: Funnel Parameters
Converging-diverging nozzle
Half-angle of subsonic cone 45o
Half-angle of supersonic cone 26.6o
Throat diameter 0.28 mm
Mass Flow 0.33 g/s
Exit diameter 16.0 mm
Subsonic part length 0.5 mm
Supersonic part length 15.5 mm
RF-funnel electrodes
Entrance aperture diameter 16.0 mm
Exit aperture diameter 1.0 mm
Ring electrode diameter 28 mm
Change in aperture diam./el. 0.05mm
Ring electrode thickness 0.1 mm
(design) +/- 2.54 μm
Gap between electrodes 0.25 mm
Total number of electrodes 301
CU
0.6299”
0.0394”
1.1024”
0.0020”
0.0040”
0.0001”
0.0100”

## Slide 53: Monte Carlo gas flow simulations
Upstream pressure:
PA= 5.4 bar
Argon Gas
PB= 0.0035 mbar
PB= 0.85 mbar
PB= 13.3 mbar
Gas flow pattern inside funnel depends on ambient pressure in chamber B (PB)
Upstream pressure changes gas flow rate through funnel & thus transmission efficiency
Simulated Ar in addition to Xe
Points of comparison to 10 bar Xe:
  5.4 bar Ar similar gas flow (mbar l/s)
  18 bar Ar similar Reynolds number at nozzle throat

## Slide 54: Extra Plots

## Slide 55: Mean free path of operation gasses

## Slide 56: Gas load in the system
 | Chamber A | Chamber B | Chamber C | Chamber D
Gas op. pressure (Ar) [Torr] | 4027.8 | 0.00503 | 0.00210 | 9.6E-6
Gas op. pressure (Xe) [Torr] | 7500.7 | 0.00251 | 0.000988 | 7.1E-6
Pumping speed (Ar) [l/s] |  | 8300 | 800 | 66
Pumping speed (Xe) [l/s] |  |  | 457.1 | 38.3
Gas load (Ar) [gps] | ? 0.0379 | 0.0913 | 0.00367 | 1.38E-06
Gas load (Xe) [gps] | 0.0379 | ?0.102 | 0.00324 | 1.95E-06
Gas load (Ar) [gph] | ?136 | 329 | 13.2 | 0.00498
Gas load (Xe) [gph] | 136 | 367 | 11.7 | 0.00703
Italic: Guessed/extrapolated values
? Indicate rough guesses